## European Communities Council Directive 93/42/EEC as amended by 2007/47/EC

## Concerning Medical Devices

MD Diagnostics Ltd hereby declares that the products named have been designed, tested and found to comply with the relevant sections of the reference standards.  The products comply with all essential requirements of the Directives.  The product carries the CE Mark:

| General Product Name: |  | CO Check Plus & CO Check Pro |
| --- | --- | --- |
| Date Placed on the Market: |  | November 2011 |
| Manufacturer: |  | MD Diagnostics Ltd Building 940 Popjack Road Kent Science Park Sittingbourne Kent, ME9 8PS United Kingdom |
| Intended Use: |  | Measurement of Carbon Monoxide levels in exhaled breath |
| Sterile: |  | No |
| Measuring Function: |  | Yes: parts per million (ppm); %COHb; %FCOHb |
| Harmonised Standards referenced or applied: |  | BS EN 60601-1:2006 BS EN 60601-1-2:2007 BS EN 62304:2006 BS EN ISO 14971:2009 BS EN 1041:2008 BS EN 980:2008 |
| Conformity Assessment Procedure: |  | Council Directive 93/42/EEC; as amended by 2007/47/EC Annex V |
| Notified Body: |  | SGS United Kingdom Ltd (0120) |
| Directive Classification: |  | Class IIa under rule10 |
| Signed: |  | 20th December 2011 |
|  | Martin Marsh |  |
|  | Director |  |